TERN OzFlux Site Template for Web

So we can maintain a uniform appearance and information across all sites on the TERN OzFlux website, please use the headings given below.

For examples how information needs to be provided see “Example Introduction” below. Please make sure to provide any links included in your text and indicate if you would like an external link (which opens a new window).  For further examples visit the current TERN OzFlux web site, Tumbarumba:

http://www.ozflux.org.au/monitoringsites/tumbarumba/index.html

Example Introduction

The Tumbarumba flux station is located in the Bago State forest in south eastern New South Wales.

It was established in March 2000 and is managed by CSIRO Land and Water

The Tumbarumba flux station is supported by TERN .

Introduction

Please include supporting/ collaborating institutions as part of this section.

Contacts

Provide name, institution, address, phone number (if desired), fax (if available) and email.

Purpose

Use dots points, as per example:

http://ozflux.org.au/monitoringsites/tumbarumba/tumba_purpose.html

Site Description

See example:

http://ozflux.org.au/monitoringsites/tumbarumba/tumba_description.html

Measurements

Use a table with same headings in the example:

| Instrument Type | Make | Model | Situation |
| --- | --- | --- | --- |
| Open path CO2, H2O | Li-COR | Li-7500 | Pantograph, 70m |
| Sonic anemometer | Gill | HS | Pantograph, 70m |
|  | Gill | Solent 2D Windsonic | main mast, 1m, 5m, 11m, 26m, 35m, 42m, 54m, 70m |
| Air temperature profile (Thermocouple) | Type T (made in lab) | 100µm | main mast, 1m, 5m, 11m, 18m, 27m, 35m, 42m, 54m, 70m |
| Air H2O and CO2 profiles | Li-COR | Li-6262 | main mast, 1m, 5m, 10m, 18m, 26m, 34m, 42m, 54m, 70m |
| Net Radiometer | Kipp and Zonen | CNR1 | Pantograph, 70m |
| Pyranometer | Kipp and Zonen | CM3 and CG3 | Pantograph, 70m |
| Atmospheric Pressure | Vaisala | PTB101B | Instrument box |
| Rh+T | Vaisala | 50Y | Pantograph, 70m |
| Rainfall | Hydrological Services | TB3 | On top of mast |
| Anemometer | Vaisala | WAA151 | Pantograph, 70m |
| Wind Vane | Met One | 024A | Pantograph, 70m |
| Soil Heat Flux (2 replicates) | Rebs | HFT-3 | Pantograph, 70m |
| Soil Temperature | Type K (RS-2194315) | Lab made | Ground, -2cm, -5cm |

DEM (digital elevation model)

Provide an image, if one exists (attach native image file (e.g. jpg, tiff.  Do not embed in Word)

Pictures

Attach native image files (e.g. jpg, tiff.  Do not embed in Word), and provide captions.

Filename1.jpg, caption:

Filename2.jpg, caption:

Extra Info

If not included in Site Description, provide:

FLUXNET id code:

Average annual rainfall:

Temp range °C (absolute min and max):